[image: image1.jpg]~ IKUSWEEP




[image: image2.png]nd Cteaning Solutions

PRECISION

Ultrasonic Equipment
www.ultrasonicpartswashers.com

ULTRASERNIC TANIS

ULTRASONIC GENERATOR





4G 250-3	250	125	500	3A/360W	5 1/4” x 14” x 12”	1


4G-500-6	500	250	1000	5A/600W	5 1/4” x 14” x 12”	1


4G-750-9	750	375	1500	8A/960W	10 1/2” x 14” x 12”	2


4G-1000-12	1000	500	2000	10A/1200W	10 1/2” x 14” x 12’	2


4G-1500-18	1500	750	3000	15A/1800W	15 3/4” x 14” x 12’	3


4G-2000-24	2000	1000	4000	20A/2400W	21” x 14’ x 12’	4





4HT-710-3	3	7” x 10” x 10”	10” x 13” x 14 1/2”	120V/4.2A/500W	250W


4HT-1014-6	5	10” x 14” x 10”	13” x 17” x 14 1/2”	120V/8.4A/1000W 500W


4HT-1218-9	10	12” x 18” x 12”	15” x 21” x 16 1/4”	240V/8.4A/2000W 750W


4HT-1524-12	19	15” x 24” x 14”	18” x 27” x 18 3/4”	240V/12.6A/3000W 1000W


4HT-1622-12	22	16” x 22” x 16” 19” x 25” x 20 3/4”	240V/12.6A/3000W 1000W


4HT-1826-18	33	18” x 26” x 18” 21” x 29” x 23 3/4”	240V/16.8A/4000W 1500W


4HT-2426-30	49 24” x 26” x 20” 27” x 29” x 24”	240V/21A/5000W 2500W


4HT-2436-42	68 24’ x 36” x 20” 27” x 39” x 24”	240V/34A/8000W 3500W


4HT-2446-54	86 24” x 46” x 20” 27” x 49” x 24”	240V/42A/10,000W 4500W


4HT-1236-24	34	12” x 36” x 20” 15” x 39” x 24”	240V/17A/4000W 2000W


4HT-1246-30	43	12” x 46” x 20” 15” x 49” x 24’	240V/21A/5000W 2500W





TO ORDER PLEASE CALL EASTERN PRECISION 1 800 458-0355





�





�





Model	Capacity Tank Dimensions Unit Dimensions Power Requirements Generator


(Gallons) (W x L x D)	(W x L x D)	(Heated Tanks)	(Required)





STAINLESS STEEL TANKS – WELDED INSIDE AND OUT





Model	Full Wave Half Wave Full & Have Max Power Input Overall Dimensions # of Plug


Average	Average	Wave Peak 120V50-60 Hz W x L x H	In modules





EP GENESIS GENERATORS


CONSTANT HIGH-POWER OUTPUT AND SWEEP FREQUENCY SIMULTANEOUS MULTI-FREQUENCY








